## summary
metric | storage_misocp
objective | 4790.3444
operation_cost | 4732.9846
cycle_cost | 4.3257
investment_cost | 53.034
built_sites | 1
total_p_cap_mw | 0.513
total_e_cap_mwh | 2.4
total_grid_mwh | 55.2299
total_dg_mwh | 7.2
total_charge_mwh | 2.2737
total_discharge_mwh | 2.052
min_voltage_pu | 0.98252
max_branch_loading_pct | 64.0427
total_active_loss_mwh | 0.31226
max_soc_gap | 2.6273e-06

## storage_plan
bus | build | p_cap_mw | e_cap_mwh | duration_h | fixed_cost | power_cost | energy_cost
3 | 1 | 0.513 | 2.4 | 4.6783 | 15 | 9.234 | 28.8
4 | 0 | 0 | 0 |  | 0 | 0 | 0
5 | 0 | 0 | 0 |  | 0 | 0 | 0
6 | 0 | 0 | 0 |  | 0 | 0 | 0

## storage_dispatch
hour | bus | p_ch_mw | p_dis_mw | p_net_dis_mw | e_mwh
0 | 3 | 0.14139 | 2.4445e-07 | -0.14139 | 1.2
0 | 4 | 0 | 0 | 0 | 0
0 | 5 | 0 | 0 | 0 | 0
0 | 6 | 0 | 0 | 0 | 0
1 | 3 | 0.21924 | 2.7971e-07 | -0.21924 | 1.3343
1 | 4 | 0 | 0 | 0 | 0
1 | 5 | 0 | 0 | 0 | 0
1 | 6 | 0 | 0 | 0 | 0
2 | 3 | 0.26973 | 3.1563e-07 | -0.26973 | 1.5426
2 | 4 | 0 | 0 | 0 | 0
2 | 5 | 0 | 0 | 0 | 0
2 | 6 | 0 | 0 | 0 | 0
3 | 3 | 0.30325 | 2.965e-07 | -0.30325 | 1.7988
3 | 4 | 0 | 0 | 0 | 0
3 | 5 | 0 | 0 | 0 | 0
3 | 6 | 0 | 0 | 0 | 0
4 | 3 | 0.27048 | 2.6757e-07 | -0.27048 | 2.0869
4 | 4 | 0 | 0 | 0 | 0
4 | 5 | 0 | 0 | 0 | 0
4 | 6 | 0 | 0 | 0 | 0
5 | 3 | 0.059018 | 2.8557e-07 | -0.059017 | 2.3439
5 | 4 | 0 | 0 | 0 | 0
5 | 5 | 0 | 0 | 0 | 0
5 | 6 | 0 | 0 | 0 | 0
6 | 3 | 5.9015e-05 | 4.2284e-07 | -5.8592e-05 | 2.3999
6 | 4 | 0 | 0 | 0 | 0
6 | 5 | 0 | 0 | 0 | 0
6 | 6 | 0 | 0 | 0 | 0
7 | 3 | 3.0404e-07 | 3.5313e-06 | 3.2273e-06 | 2.4
7 | 4 | 0 | 0 | 0 | 0
7 | 5 | 0 | 0 | 0 | 0
7 | 6 | 0 | 0 | 0 | 0
8 | 3 | 3.6805e-07 | 9.5674e-07 | 5.8869e-07 | 2.4
8 | 4 | 0 | 0 | 0 | 0
8 | 5 | 0 | 0 | 0 | 0
8 | 6 | 0 | 0 | 0 | 0
9 | 3 | 5.9037e-07 | 5.3439e-07 | -5.598e-08 | 2.4
9 | 4 | 0 | 0 | 0 | 0
9 | 5 | 0 | 0 | 0 | 0
9 | 6 | 0 | 0 | 0 | 0
10 | 3 | 9.6213e-07 | 3.54e-07 | -6.0813e-07 | 2.4
10 | 4 | 0 | 0 | 0 | 0
10 | 5 | 0 | 0 | 0 | 0
10 | 6 | 0 | 0 | 0 | 0
11 | 3 | 3.9226e-06 | 2.3977e-07 | -3.6828e-06 | 2.4
11 | 4 | 0 | 0 | 0 | 0
11 | 5 | 0 | 0 | 0 | 0
11 | 6 | 0 | 0 | 0 | 0
12 | 3 | 1.9416e-07 | 2.7611e-06 | 2.5669e-06 | 2.4
12 | 4 | 0 | 0 | 0 | 0
12 | 5 | 0 | 0 | 0 | 0
12 | 6 | 0 | 0 | 0 | 0
13 | 3 | 2.8009e-07 | 7.7624e-07 | 4.9615e-07 | 2.4
13 | 4 | 0 | 0 | 0 | 0
13 | 5 | 0 | 0 | 0 | 0
13 | 6 | 0 | 0 | 0 | 0
14 | 3 | 4.405e-07 | 3.951e-07 | -4.5401e-08 | 2.4
14 | 4 | 0 | 0 | 0 | 0
14 | 5 | 0 | 0 | 0 | 0
14 | 6 | 0 | 0 | 0 | 0
15 | 3 | 7.4151e-07 | 2.535e-07 | -4.8802e-07 | 2.4
15 | 4 | 0 | 0 | 0 | 0
15 | 5 | 0 | 0 | 0 | 0
15 | 6 | 0 | 0 | 0 | 0
16 | 3 | 2.8052e-06 | 1.7188e-07 | -2.6333e-06 | 2.4
16 | 4 | 0 | 0 | 0 | 0
16 | 5 | 0 | 0 | 0 | 0
16 | 6 | 0 | 0 | 0 | 0
17 | 3 | 6.388e-08 | 0.513 | 0.513 | 2.4
17 | 4 | 0 | 0 | 0 | 0
17 | 5 | 0 | 0 | 0 | 0
17 | 6 | 0 | 0 | 0 | 0
18 | 3 | 5.7629e-08 | 0.513 | 0.513 | 1.86
18 | 4 | 0 | 0 | 0 | 0
18 | 5 | 0 | 0 | 0 | 0
18 | 6 | 0 | 0 | 0 | 0
19 | 3 | 5.9911e-08 | 0.513 | 0.513 | 1.32
19 | 4 | 0 | 0 | 0 | 0
19 | 5 | 0 | 0 | 0 | 0
19 | 6 | 0 | 0 | 0 | 0
20 | 3 | 6.0149e-08 | 0.513 | 0.513 | 0.78
20 | 4 | 0 | 0 | 0 | 0
20 | 5 | 0 | 0 | 0 | 0
20 | 6 | 0 | 0 | 0 | 0
21 | 3 | 0.1355 | 1.5873e-07 | -0.1355 | 0.24
21 | 4 | 0 | 0 | 0 | 0
21 | 5 | 0 | 0 | 0 | 0
21 | 6 | 0 | 0 | 0 | 0
22 | 3 | 0.36517 | 1.6421e-07 | -0.36517 | 0.36873
22 | 4 | 0 | 0 | 0 | 0
22 | 5 | 0 | 0 | 0 | 0
22 | 6 | 0 | 0 | 0 | 0
23 | 3 | 0.50986 | 1.8043e-07 | -0.50986 | 0.71564
23 | 4 | 0 | 0 | 0 | 0
23 | 5 | 0 | 0 | 0 | 0
23 | 6 | 0 | 0 | 0 | 0

## planning_dispatch
hour | p_grid_mw | p_dg_mw | q_grid_mvar | p_storage_ch_mw | p_storage_dis_mw | e_storage_total_mwh | v_min_pu
0 | 1.8871 | 3.4779e-08 | 0.59169 | 0.14139 | 2.4445e-07 | 1.2 | 0.9907
1 | 1.8743 | 1.0048e-08 | 0.56149 | 0.21924 | 2.7971e-07 | 1.3343 | 0.99098
2 | 1.8646 | 2.1344e-08 | 0.54145 | 0.26973 | 3.1563e-07 | 1.5426 | 0.99117
3 | 1.8601 | 2.1872e-08 | 0.52878 | 0.30325 | 2.965e-07 | 1.7988 | 0.9913
4 | 1.8654 | 1.5484e-08 | 0.54146 | 0.27048 | 2.6757e-07 | 2.0869 | 0.99117
5 | 1.8969 | 3.6247e-08 | 0.62242 | 0.059018 | 2.8557e-07 | 2.3439 | 0.9904
6 | 2.3632 | 1.7563e-08 | 0.8053 | 5.9015e-05 | 4.2284e-07 | 2.3999 | 0.9878
7 | 2.9241 | 6.7814e-08 | 1.0049 | 3.0404e-07 | 3.5313e-06 | 2.4 | 0.98484
8 | 3.2572 | 8.6295e-08 | 1.1253 | 3.6805e-07 | 9.5674e-07 | 2.4 | 0.98301
9 | 3.3222 | 8.2711e-08 | 1.1497 | 5.9037e-07 | 5.3439e-07 | 2.4 | 0.98252
10 | 3.3036 | 6.5487e-08 | 1.1433 | 9.6213e-07 | 3.54e-07 | 2.4 | 0.98255
11 | 3.2493 | 4.7039e-08 | 1.1237 | 3.9226e-06 | 2.3977e-07 | 2.4 | 0.98282
12 | 2.3517 | 0.8 | 1.0642 | 1.9416e-07 | 2.7611e-06 | 2.4 | 0.9876
13 | 2.3209 | 0.8 | 1.0534 | 2.8009e-07 | 7.7624e-07 | 2.4 | 0.98775
14 | 2.3264 | 0.8 | 1.0551 | 4.405e-07 | 3.951e-07 | 2.4 | 0.98775
15 | 2.3656 | 0.8 | 1.0686 | 7.4151e-07 | 2.535e-07 | 2.4 | 0.98762
16 | 2.3894 | 0.8 | 1.0763 | 2.8052e-06 | 1.7188e-07 | 2.4 | 0.98764
17 | 1.8675 | 0.8 | 1.0635 | 6.388e-08 | 0.513 | 2.4 | 0.98904
18 | 1.7489 | 0.8 | 1.0222 | 5.7629e-08 | 0.513 | 1.86 | 0.98973
19 | 1.5314 | 0.8 | 0.94732 | 5.9911e-08 | 0.513 | 1.32 | 0.99082
20 | 1.3202 | 0.8 | 0.87518 | 6.0149e-08 | 0.513 | 0.78 | 0.99183
21 | 2.5033 | 1.1912e-07 | 0.80872 | 0.1355 | 1.5873e-07 | 0.24 | 0.98777
22 | 2.4357 | 1.6015e-07 | 0.7092 | 0.36517 | 1.6421e-07 | 0.36873 | 0.98865
23 | 2.401 | 1.4569e-07 | 0.64928 | 0.50986 | 1.8043e-07 | 0.71564 | 0.98919

## planning_voltage
hour | 1 | 2 | 3 | 4 | 5 | 6
0 | 1 | 0.99635 | 0.99341 | 0.99179 | 0.99097 | 0.9907
1 | 1 | 0.99645 | 0.99355 | 0.992 | 0.99123 | 0.99098
2 | 1 | 0.99652 | 0.99365 | 0.99215 | 0.99142 | 0.99117
3 | 1 | 0.99657 | 0.99371 | 0.99224 | 0.99153 | 0.9913
4 | 1 | 0.99652 | 0.99365 | 0.99215 | 0.99141 | 0.99117
5 | 1 | 0.99625 | 0.99325 | 0.99156 | 0.99069 | 0.9904
6 | 1 | 0.99524 | 0.99147 | 0.98939 | 0.98822 | 0.9878
7 | 1 | 0.99409 | 0.98937 | 0.9869 | 0.98541 | 0.98484
8 | 1 | 0.9934 | 0.98807 | 0.98538 | 0.9837 | 0.98301
9 | 1 | 0.99327 | 0.9877 | 0.98496 | 0.98327 | 0.98252
10 | 1 | 0.99331 | 0.9877 | 0.98497 | 0.98331 | 0.98255
11 | 1 | 0.99342 | 0.98789 | 0.98519 | 0.98356 | 0.98282
12 | 1 | 0.99447 | 0.9901 | 0.98828 | 0.9876 | 0.98762
13 | 1 | 0.99454 | 0.99021 | 0.9884 | 0.98775 | 0.98777
14 | 1 | 0.99453 | 0.99022 | 0.98842 | 0.98775 | 0.98778
15 | 1 | 0.99445 | 0.99016 | 0.98833 | 0.98762 | 0.98767
16 | 1 | 0.9944 | 0.99026 | 0.98839 | 0.98764 | 0.98775
17 | 1 | 0.99495 | 0.99171 | 0.98985 | 0.98904 | 0.98924
18 | 1 | 0.99519 | 0.99228 | 0.9905 | 0.98973 | 0.99001
19 | 1 | 0.99563 | 0.99309 | 0.99147 | 0.99082 | 0.99116
20 | 1 | 0.99606 | 0.99381 | 0.99236 | 0.99183 | 0.99219
21 | 1 | 0.99509 | 0.99141 | 0.98934 | 0.9881 | 0.98777
22 | 1 | 0.99546 | 0.99184 | 0.98998 | 0.98895 | 0.98865
23 | 1 | 0.99567 | 0.99211 | 0.99038 | 0.98947 | 0.98919

## planning_branch_flow
hour | branch | from_bus | to_bus | p_mw | q_mvar | s_mva | s_max_mva | ell_pu | p_loss_mw | q_loss_mvar | soc_gap | loading_pct
0 | L12 | 1 | 2 | 1.8871 | 0.59169 | 1.9777 | 6 | 0.039113 | 0.0039113 | 0.011734 | 3.2848e-07 | 32.9616
0 | L23 | 2 | 3 | 1.5007 | 0.45423 | 1.5679 | 4.5 | 0.024765 | 0.0029718 | 0.0061912 | 1.4955e-07 | 34.843
0 | L34 | 3 | 4 | 0.97134 | 0.3215 | 1.0232 | 4 | 0.010608 | 0.0010608 | 0.0021216 | 2.593e-07 | 25.579
0 | L45 | 4 | 5 | 0.44528 | 0.14682 | 0.46886 | 3.5 | 0.0022351 | 0.00024586 | 0.00049172 | 2.6442e-07 | 13.3959
0 | L56 | 5 | 6 | 0.17503 | 0.057582 | 0.18426 | 3 | 0.00034647 | 3.1182e-05 | 6.2364e-05 | 7.1859e-07 | 6.142
1 | L12 | 1 | 2 | 1.8743 | 0.56149 | 1.9566 | 6 | 0.038282 | 0.0038282 | 0.011485 | 3.4571e-07 | 32.6095
1 | L23 | 2 | 3 | 1.5134 | 0.43267 | 1.5741 | 4.5 | 0.024954 | 0.0029945 | 0.0062385 | 3.3676e-07 | 34.9795
1 | L34 | 3 | 4 | 0.92821 | 0.30711 | 0.9777 | 4 | 0.0096839 | 0.00096839 | 0.0019368 | 4.446e-07 | 24.4425
1 | L45 | 4 | 5 | 0.41724 | 0.13755 | 0.43933 | 3.5 | 0.0019618 | 0.0002158 | 0.00043159 | 3.9491e-07 | 12.5523
1 | L56 | 5 | 6 | 0.16503 | 0.054289 | 0.17373 | 3 | 0.00030985 | 2.7887e-05 | 5.5773e-05 | 2.6273e-06 | 5.7909
2 | L12 | 1 | 2 | 1.8646 | 0.54145 | 1.9417 | 6 | 0.0377 | 0.00377 | 0.01131 | 1.9469e-07 | 32.3609
2 | L23 | 2 | 3 | 1.5209 | 0.41839 | 1.5774 | 4.5 | 0.025055 | 0.0030066 | 0.0062637 | 1.8055e-07 | 35.0524
2 | L34 | 3 | 4 | 0.89613 | 0.29643 | 0.94388 | 4 | 0.0090236 | 0.00090236 | 0.0018047 | 2.3753e-07 | 23.597
2 | L45 | 4 | 5 | 0.40022 | 0.13192 | 0.42141 | 3.5 | 0.0018042 | 0.00019847 | 0.00039693 | 1.8328e-07 | 12.0402
2 | L56 | 5 | 6 | 0.16003 | 0.052642 | 0.16846 | 3 | 0.00028992 | 2.6093e-05 | 5.2186e-05 | 1.173e-06 | 5.6154
3 | L12 | 1 | 2 | 1.8601 | 0.52878 | 1.9338 | 6 | 0.037395 | 0.0037395 | 0.011219 | 1.7056e-07 | 32.2297
3 | L23 | 2 | 3 | 1.5248 | 0.4086 | 1.5786 | 4.5 | 0.025093 | 0.0030112 | 0.0062733 | 1.5739e-07 | 35.0809
3 | L34 | 3 | 4 | 0.87758 | 0.29025 | 0.92433 | 4 | 0.0086526 | 0.00086526 | 0.0017305 | 2.2817e-07 | 23.1082
3 | L45 | 4 | 5 | 0.38921 | 0.12828 | 0.40981 | 3.5 | 0.0017059 | 0.00018765 | 0.00037531 | 1.5284e-07 | 11.7088
3 | L56 | 5 | 6 | 0.15502 | 0.050995 | 0.1632 | 3 | 0.00027246 | 2.4521e-05 | 4.9043e-05 | 1.5318e-06 | 5.4399
4 | L12 | 1 | 2 | 1.8654 | 0.54146 | 1.9424 | 6 | 0.037729 | 0.0037729 | 0.011319 | 3.2565e-07 | 32.373
4 | L23 | 2 | 3 | 1.5216 | 0.41839 | 1.5781 | 4.5 | 0.025078 | 0.0030094 | 0.0062695 | 3.3003e-07 | 35.0686
4 | L34 | 3 | 4 | 0.89613 | 0.29643 | 0.94388 | 4 | 0.0090238 | 0.00090238 | 0.0018048 | 4.1214e-07 | 23.597
4 | L45 | 4 | 5 | 0.40022 | 0.13192 | 0.42141 | 3.5 | 0.0018045 | 0.00019849 | 0.00039698 | 4.1548e-07 | 12.0402
4 | L56 | 5 | 6 | 0.16003 | 0.052642 | 0.16846 | 3 | 0.00029128 | 2.6215e-05 | 5.243e-05 | 2.5041e-06 | 5.6154
5 | L12 | 1 | 2 | 1.8969 | 0.62242 | 1.9964 | 6 | 0.03986 | 0.003986 | 0.011958 | 1.5407e-06 | 33.2742
5 | L23 | 2 | 3 | 1.4935 | 0.47915 | 1.5684 | 4.5 | 0.024786 | 0.0029743 | 0.0061965 | 9.0569e-08 | 34.8543
5 | L34 | 3 | 4 | 1.0135 | 0.33557 | 1.0676 | 4 | 0.011553 | 0.0011553 | 0.0023106 | 2.4887e-07 | 26.6895
5 | L45 | 4 | 5 | 0.47231 | 0.15577 | 0.49734 | 3.5 | 0.002516 | 0.00027676 | 0.00055352 | 2.6506e-07 | 14.2096
5 | L56 | 5 | 6 | 0.19004 | 0.062523 | 0.20006 | 3 | 0.00040843 | 3.6759e-05 | 7.3517e-05 | 6.2601e-07 | 6.6686
6 | L12 | 1 | 2 | 2.3632 | 0.8053 | 2.4966 | 6 | 0.062333 | 0.0062333 | 0.0187 | 4.2265e-07 | 41.6107
6 | L23 | 2 | 3 | 1.847 | 0.61898 | 1.9479 | 4.5 | 0.038308 | 0.004597 | 0.0095771 | 3.9875e-07 | 43.2872
6 | L34 | 3 | 4 | 1.2373 | 0.41054 | 1.3036 | 4 | 0.017289 | 0.0017289 | 0.0034578 | 2.1404e-07 | 32.591
6 | L45 | 4 | 5 | 0.63558 | 0.20988 | 0.66934 | 3.5 | 0.0045769 | 0.00050346 | 0.0010069 | 2.093e-07 | 19.1239
6 | L56 | 5 | 6 | 0.27508 | 0.090543 | 0.2896 | 3 | 0.00085987 | 7.7388e-05 | 0.00015478 | 1.0768e-06 | 9.6532
7 | L12 | 1 | 2 | 2.9241 | 1.0049 | 3.092 | 6 | 0.095605 | 0.0095605 | 0.028682 | 6.0173e-08 | 51.5335
7 | L23 | 2 | 3 | 2.3026 | 0.77511 | 2.4295 | 4.5 | 0.059731 | 0.0071677 | 0.014933 | 1.2498e-07 | 53.9898
7 | L34 | 3 | 4 | 1.4704 | 0.48901 | 1.5496 | 4 | 0.024531 | 0.0024531 | 0.0049062 | 1.5992e-07 | 38.7399
7 | L45 | 4 | 5 | 0.80796 | 0.26717 | 0.85099 | 3.5 | 0.0074355 | 0.0008179 | 0.0016358 | 1.2428e-07 | 24.314
7 | L56 | 5 | 6 | 0.37514 | 0.12355 | 0.39496 | 3 | 0.0016067 | 0.0001446 | 0.0002892 | 1.509e-07 | 13.1655
8 | L12 | 1 | 2 | 3.2572 | 1.1253 | 3.4461 | 6 | 0.11876 | 0.011876 | 0.035627 | 1.201e-07 | 57.4349
8 | L23 | 2 | 3 | 2.5993 | 0.87736 | 2.7434 | 4.5 | 0.076264 | 0.0091517 | 0.019066 | 1.5911e-07 | 60.9641
8 | L34 | 3 | 4 | 1.6002 | 0.53289 | 1.6866 | 4 | 0.029136 | 0.0029136 | 0.0058272 | 3.9419e-07 | 42.164
8 | L45 | 4 | 5 | 0.90724 | 0.30028 | 0.95564 | 3.5 | 0.0094058 | 0.0010346 | 0.0020693 | 1.6247e-07 | 27.3041
8 | L56 | 5 | 6 | 0.45021 | 0.14833 | 0.47401 | 3 | 0.0023222 | 0.000209 | 0.00041799 | 1.8079e-07 | 15.8004
9 | L12 | 1 | 2 | 3.3222 | 1.1497 | 3.5155 | 6 | 0.12358 | 0.012358 | 0.037075 | 1.2653e-07 | 58.591
9 | L23 | 2 | 3 | 2.7148 | 0.91703 | 2.8655 | 4.5 | 0.083228 | 0.0099873 | 0.020807 | 3.8541e-07 | 63.6776
9 | L34 | 3 | 4 | 1.6268 | 0.5419 | 1.7147 | 4 | 0.030139 | 0.0030139 | 0.0060278 | 3.7074e-07 | 42.8672
9 | L45 | 4 | 5 | 0.91129 | 0.30169 | 0.95993 | 3.5 | 0.0094985 | 0.0010448 | 0.0020897 | 1.6204e-07 | 27.4266
9 | L56 | 5 | 6 | 0.49025 | 0.16155 | 0.51618 | 3 | 0.0027561 | 0.00024805 | 0.00049609 | 1.6992e-07 | 17.206
10 | L12 | 1 | 2 | 3.3036 | 1.1433 | 3.4958 | 6 | 0.12221 | 0.012221 | 0.036663 | 1.2405e-07 | 58.2639
10 | L23 | 2 | 3 | 2.7304 | 0.92227 | 2.8819 | 4.5 | 0.084178 | 0.010101 | 0.021045 | 3.8408e-07 | 64.0427
10 | L34 | 3 | 4 | 1.6203 | 0.53968 | 1.7078 | 4 | 0.029896 | 0.0029896 | 0.0059792 | 3.6768e-07 | 42.6944
10 | L45 | 4 | 5 | 0.89727 | 0.29704 | 0.94516 | 3.5 | 0.0092081 | 0.0010129 | 0.0020258 | 1.5815e-07 | 27.0046
10 | L56 | 5 | 6 | 0.50026 | 0.16486 | 0.52672 | 3 | 0.0028695 | 0.00025826 | 0.00051651 | 1.66e-07 | 17.5574
11 | L12 | 1 | 2 | 3.2493 | 1.1237 | 3.4381 | 6 | 0.11821 | 0.011821 | 0.035462 | 1.0387e-07 | 57.3021
11 | L23 | 2 | 3 | 2.6935 | 0.90947 | 2.8429 | 4.5 | 0.081894 | 0.0098273 | 0.020474 | 5.5502e-08 | 63.1751
11 | L34 | 3 | 4 | 1.6056 | 0.53468 | 1.6923 | 4 | 0.029347 | 0.0029347 | 0.0058693 | 2.9687e-07 | 42.3082
11 | L45 | 4 | 5 | 0.87521 | 0.28969 | 0.92191 | 3.5 | 0.0087568 | 0.00096325 | 0.0019265 | 1.6012e-07 | 26.3403
11 | L56 | 5 | 6 | 0.49025 | 0.16155 | 0.51618 | 3 | 0.0027544 | 0.0002479 | 0.00049579 | 1.8042e-07 | 17.206
12 | L12 | 1 | 2 | 2.3517 | 1.0642 | 2.5812 | 6 | 0.066628 | 0.0066628 | 0.019989 | 7.1295e-08 | 43.0208
12 | L23 | 2 | 3 | 1.818 | 0.87097 | 2.0159 | 4.5 | 0.041091 | 0.0049309 | 0.010273 | 1.1809e-07 | 44.7972
12 | L34 | 3 | 4 | 0.76809 | 0.51722 | 0.926 | 4 | 0.0087476 | 0.00087476 | 0.0017495 | 4.6717e-07 | 23.1499
12 | L45 | 4 | 5 | 0.04721 | 0.27882 | 0.28278 | 3.5 | 0.00081887 | 9.0076e-05 | 0.00018015 | 1.1363e-07 | 8.0795
12 | L56 | 5 | 6 | -0.32488 | 0.15636 | 0.36055 | 3 | 0.0013329 | 0.00011996 | 0.00023993 | 1.222e-07 | 12.0184
13 | L12 | 1 | 2 | 2.3209 | 1.0534 | 2.5487 | 6 | 0.064961 | 0.0064961 | 0.019488 | 5.0717e-07 | 42.4789
13 | L23 | 2 | 3 | 1.7959 | 0.86345 | 1.9927 | 4.5 | 0.040145 | 0.0048174 | 0.010036 | 4.156e-07 | 44.2816
13 | L34 | 3 | 4 | 0.75706 | 0.51356 | 0.91482 | 4 | 0.0085357 | 0.00085357 | 0.0017071 | 4.4997e-07 | 22.8704
13 | L45 | 4 | 5 | 0.03621 | 0.2752 | 0.27757 | 3.5 | 0.00078876 | 8.6763e-05 | 0.00017353 | 1.1567e-07 | 7.9306
13 | L56 | 5 | 6 | -0.32988 | 0.15473 | 0.36436 | 3 | 0.0013608 | 0.00012248 | 0.00024495 | 1.229e-07 | 12.1454
14 | L12 | 1 | 2 | 2.3264 | 1.0551 | 2.5545 | 6 | 0.065253 | 0.0065253 | 0.019576 | 4.6919e-07 | 42.5743
14 | L23 | 2 | 3 | 1.7843 | 0.85956 | 1.9806 | 4.5 | 0.03966 | 0.0047592 | 0.009915 | 2.3506e-07 | 44.0127
14 | L34 | 3 | 4 | 0.75657 | 0.5134 | 0.91432 | 4 | 0.0085262 | 0.00085262 | 0.0017052 | 4.5181e-07 | 22.8579
14 | L45 | 4 | 5 | 0.043214 | 0.27751 | 0.28085 | 3.5 | 0.00080749 | 8.8824e-05 | 0.00017765 | 1.1209e-07 | 8.0244
14 | L56 | 5 | 6 | -0.33487 | 0.15309 | 0.36821 | 3 | 0.0013897 | 0.00012508 | 0.00025015 | 1.2368e-07 | 12.2736
15 | L12 | 1 | 2 | 2.3656 | 1.0686 | 2.5957 | 6 | 0.067378 | 0.0067378 | 0.020213 | 2.3837e-07 | 43.262
15 | L23 | 2 | 3 | 1.7723 | 0.8556 | 1.968 | 4.5 | 0.039166 | 0.0046999 | 0.0097914 | 1.3049e-07 | 43.7342
15 | L34 | 3 | 4 | 0.77762 | 0.52041 | 0.9357 | 4 | 0.0089306 | 0.00089306 | 0.0017861 | 4.8378e-07 | 23.3924
15 | L45 | 4 | 5 | 0.064229 | 0.28444 | 0.2916 | 3.5 | 0.0008706 | 9.5766e-05 | 0.00019153 | 7.4877e-08 | 8.3315
15 | L56 | 5 | 6 | -0.34987 | 0.14817 | 0.37995 | 3 | 0.0014802 | 0.00013321 | 0.00026643 | 1.2719e-07 | 12.665
16 | L12 | 1 | 2 | 2.3894 | 1.0763 | 2.6206 | 6 | 0.068678 | 0.0068678 | 0.020603 | 7.8359e-08 | 43.6773
16 | L23 | 2 | 3 | 1.7026 | 0.83219 | 1.8951 | 4.5 | 0.036318 | 0.0043582 | 0.0090795 | 6.347e-08 | 42.1123
16 | L34 | 3 | 4 | 0.79619 | 0.52664 | 0.9546 | 4 | 0.0092934 | 0.00092934 | 0.0018587 | 5.2377e-07 | 23.8651
16 | L45 | 4 | 5 | 0.090263 | 0.29305 | 0.30664 | 3.5 | 0.00096254 | 0.00010588 | 0.00021176 | 4.2393e-08 | 8.7612
16 | L56 | 5 | 6 | -0.38984 | 0.13507 | 0.41258 | 3 | 0.0017452 | 0.00015707 | 0.00031414 | 1.34e-07 | 13.7527
17 | L12 | 1 | 2 | 1.8675 | 1.0635 | 2.149 | 6 | 0.046184 | 0.0046184 | 0.013855 | 5.3194e-08 | 35.8172
17 | L23 | 2 | 3 | 1.0553 | 0.78419 | 1.3148 | 4.5 | 0.017463 | 0.0020955 | 0.0043657 | 4.1973e-08 | 29.2178
17 | L34 | 3 | 4 | 0.79624 | 0.52674 | 0.9547 | 4 | 0.009268 | 0.0009268 | 0.0018536 | 3.4681e-07 | 23.8676
17 | L45 | 4 | 5 | 0.12032 | 0.30302 | 0.32604 | 3.5 | 0.0010851 | 0.00011936 | 0.00023873 | 2.0664e-07 | 9.3154
17 | L56 | 5 | 6 | -0.4498 | 0.11544 | 0.46438 | 3 | 0.0022046 | 0.00019842 | 0.00039684 | 1.0466e-07 | 15.4793
18 | L12 | 1 | 2 | 1.7489 | 1.0222 | 2.0257 | 6 | 0.041035 | 0.0041035 | 0.01231 | 2.688e-08 | 33.7617
18 | L23 | 2 | 3 | 0.89479 | 0.73047 | 1.1551 | 4.5 | 0.013472 | 0.0016166 | 0.0033679 | 8.2427e-08 | 25.6688
18 | L34 | 3 | 4 | 0.74618 | 0.51017 | 0.90391 | 4 | 0.0082986 | 0.00082986 | 0.0016597 | 3.4596e-07 | 22.5978
18 | L45 | 4 | 5 | 0.10035 | 0.29651 | 0.31303 | 3.5 | 0.00099899 | 0.00010989 | 0.00021978 | 2.0923e-07 | 8.9438
18 | L56 | 5 | 6 | -0.49976 | 0.099082 | 0.50949 | 3 | 0.00265 | 0.0002385 | 0.00047701 | 1.0983e-07 | 16.983
19 | L12 | 1 | 2 | 1.5314 | 0.94732 | 1.8007 | 6 | 0.032427 | 0.0032427 | 0.009728 | 2.9319e-08 | 30.0124
19 | L23 | 2 | 3 | 0.71218 | 0.66939 | 0.97738 | 4.5 | 0.0096368 | 0.0011564 | 0.0024092 | 6.8521e-08 | 21.7196
19 | L34 | 3 | 4 | 0.65202 | 0.47897 | 0.80904 | 4 | 0.0066371 | 0.00066371 | 0.0013274 | 3.3327e-07 | 20.226
19 | L45 | 4 | 5 | 0.03636 | 0.2755 | 0.27789 | 3.5 | 0.00078574 | 8.6431e-05 | 0.00017286 | 1.7075e-07 | 7.9397
19 | L56 | 5 | 6 | -0.53973 | 0.086006 | 0.54654 | 3 | 0.0030427 | 0.00027384 | 0.00054769 | 1.1424e-07 | 18.2179
20 | L12 | 1 | 2 | 1.3202 | 0.87518 | 1.584 | 6 | 0.02509 | 0.002509 | 0.007527 | 9.7749e-08 | 26.3997
20 | L23 | 2 | 3 | 0.56974 | 0.6218 | 0.84335 | 4.5 | 0.0071688 | 0.00086026 | 0.0017922 | 4.3255e-08 | 18.7411
20 | L34 | 3 | 4 | 0.55388 | 0.44646 | 0.71141 | 4 | 0.0051246 | 0.00051246 | 0.0010249 | 3.1208e-07 | 17.7854
20 | L45 | 4 | 5 | -0.031635 | 0.25316 | 0.25513 | 3.5 | 0.00066126 | 7.2739e-05 | 0.00014548 | 2.8819e-07 | 7.2894
20 | L56 | 5 | 6 | -0.55971 | 0.079469 | 0.56532 | 3 | 0.0032489 | 0.0002924 | 0.0005848 | 1.1801e-07 | 18.844
21 | L12 | 1 | 2 | 2.5033 | 0.80872 | 2.6307 | 6 | 0.069208 | 0.0069208 | 0.020762 | 2.4001e-07 | 43.8456
21 | L23 | 2 | 3 | 1.8589 | 0.57842 | 1.9468 | 4.5 | 0.038277 | 0.0045932 | 0.0095692 | 2.1707e-07 | 43.2631
21 | L34 | 3 | 4 | 1.2348 | 0.40977 | 1.301 | 4 | 0.017222 | 0.0017222 | 0.0034444 | 2.6548e-07 | 32.5261
21 | L45 | 4 | 5 | 0.67061 | 0.22144 | 0.70622 | 3.5 | 0.0050957 | 0.00056053 | 0.0011211 | 1.1125e-07 | 20.1778
21 | L56 | 5 | 6 | 0.22005 | 0.072409 | 0.23166 | 3 | 0.00054978 | 4.948e-05 | 9.8961e-05 | 1.2512e-07 | 7.7219
22 | L12 | 1 | 2 | 2.4357 | 0.7092 | 2.5369 | 6 | 0.064357 | 0.0064357 | 0.019307 | 1.8073e-07 | 42.281
22 | L23 | 2 | 3 | 1.9193 | 0.52226 | 1.9891 | 4.5 | 0.039926 | 0.0047912 | 0.0099816 | 7.4287e-07 | 44.2015
22 | L34 | 3 | 4 | 1.1093 | 0.36766 | 1.1687 | 4 | 0.013883 | 0.0013883 | 0.0027767 | 2.3837e-07 | 29.2165
22 | L45 | 4 | 5 | 0.56043 | 0.18493 | 0.59015 | 3.5 | 0.0035538 | 0.00039092 | 0.00078183 | 1.2723e-07 | 16.8615
22 | L56 | 5 | 6 | 0.20004 | 0.065818 | 0.21059 | 3 | 0.00045362 | 4.0826e-05 | 8.1652e-05 | 1.6885e-07 | 7.0197
23 | L12 | 1 | 2 | 2.401 | 0.64928 | 2.4872 | 6 | 0.061863 | 0.0061863 | 0.018559 | 3.4044e-07 | 41.4538
23 | L23 | 2 | 3 | 1.9528 | 0.48545 | 2.0122 | 4.5 | 0.040844 | 0.0049013 | 0.010211 | 3.1719e-07 | 44.7163
23 | L34 | 3 | 4 | 1.031 | 0.34146 | 1.0861 | 4 | 0.011985 | 0.0011985 | 0.002397 | 1.1084e-07 | 27.1528
23 | L45 | 4 | 5 | 0.49734 | 0.16404 | 0.5237 | 3.5 | 0.0027962 | 0.00030759 | 0.00061517 | 1.2672e-07 | 14.9628
23 | L56 | 5 | 6 | 0.18503 | 0.060876 | 0.19479 | 3 | 0.00038782 | 3.4904e-05 | 6.9808e-05 | 2.5595e-07 | 6.4931

## planning_model_info
metric | value
model | storage_siting_misocp_6bus
solver | Gurobi
mip_gap | 0
runtime_sec | 0.32
total_wall_time_sec | 0.8299
variables | 876
binary_variables | 4
linear_constraints | 1021
quadratic_constraints | 240
candidate_buses | 3,4,5,6
max_storage_sites | 1
p_cap_site_max_mw | 0.8
e_cap_site_max_mwh | 2.4
eta_ch | 0.95
eta_dis | 0.95